## Slide 1
Melanoma-Skin Cancer Detection Using Convolutional Neural Network
Tanha Kabir Koly
DEEP LEARNING
MEDICAL IMAGING
ISIC

## Slide 2
Introduction
Skin cancer, particularly melanoma, is one of the most dangerous forms of cancer due to its high potential for metastasis. Early detection is critical for improving survival rates. With the advancement of deep learning, automated melanoma detection using dermoscopic images has become an important research area.
This study focuses on developing and evaluating deep learning models for binary classification of melanoma vs non-melanoma using the ISIC dataset. The main challenges addressed in this work include:
🔬 Limited Dataset Size
⚖️ Severe Class Imbalance
🎯 High Sensitivity (Recall)
Applications of This Work
Clinical decision support systems
Automated screening tools
Telemedicine applications

## Slide 3
Literature Review
Traditional image classification approaches relied on handcrafted features, which often failed to generalize well. With the introduction of Convolutional Neural Networks (CNNs), automated feature extraction significantly improved performance in medical imaging.
Recent studies have shown that:
EfficientNet has demonstrated superior performance due to its compound scaling approach, making it highly suitable for medical image classification tasks.
Deep CNNs
Outperform traditional methods
Transfer Learning
EfficientNet and ResNet improve performance on small datasets
Class Imbalance
A major issue in medical datasets
Focal Loss & Resampling
Improve minority class detection

## Slide 4
Methodology
This study follows a progressive experimental approach with four models, each building upon the previous to address specific challenges.
Basic CNN Model
A simple CNN with 3 convolutional layers, max pooling layers, and fully connected dense layers — serves as a baseline without transfer learning.
Transfer Learning with EfficientNetB0
A pretrained EfficientNetB0 model (pretrained on ImageNet) used as a feature extractor with frozen layers and a custom classification head.
Fine-Tuning + Focal Loss + Threshold Optimization
Enhancements include fine-tuning of top layers, focal loss to address class imbalance, and threshold tuning using F1-score.
Oversampling + Fine-Tuning (Final Model)
Further improvements: oversampling minority class (melanoma), fine-tuning EfficientNet, and enhanced augmentation.

## Slide 5
Implementation
Dataset & Preprocessing
ISIC dataset — Binary classification: melanoma vs non-melanoma
Image resizing (224–300)
Normalization
Data augmentation: flipping, brightness/contrast adjustment, saturation variation
Training Strategy
Batch size: 16–32
Optimizer: Adam
Early stopping and learning rate reduction
Two-stage training: Stage 1 (frozen backbone) → Stage 2 (fine-tuning)
Evaluation Metrics
Confusion matrix and Precision-Recall curve were also used for comprehensive evaluation.
Accuracy
ROC-AUC
Precision / Recall
F1-Score

## Slide 6
Experimental Results
Performance comparison across all four models on the ISIC dataset.
Model
Accuracy
AUC
Recall (Melanoma)
Precision (Melanoma)
Basic CNN
Low
Low
Low
Low
EfficientNet
71.33%
0.74
53.33%
35.56%
Fine-tuned + Focal Loss
71.33%
0.75
86.67%
40.00%
Oversampling + Fine-tuning
77.33%
0.786
60.00%
45.00%
Key Observations
Transfer learning significantly improved performance over CNN
Focal loss dramatically improved melanoma recall
Oversampling improved overall balance and accuracy
Threshold tuning allowed better control over sensitivity vs precision
Trade-off Analysis
High Recall Model
Detects more melanoma cases, but with higher false positives
Balanced Model
Better accuracy and AUC, with moderate recall

## Slide 7
Discussion
The results demonstrate that model performance depends heavily on class imbalance handling, and that accuracy alone is not sufficient for medical tasks — recall (sensitivity) is more critical in melanoma detection.
Class Imbalance Handling
Model performance depends heavily on class imbalance handling. Techniques such as focal loss and oversampling are essential to ensure minority class detection.
Beyond Accuracy
Accuracy alone is not sufficient for medical tasks. Recall (sensitivity) is more critical in melanoma detection to minimize missed diagnoses.
Transfer Learning
Transfer learning is essential for small datasets, enabling models to leverage pretrained features and achieve strong performance.
Loss Function & Threshold Design
Loss function design and threshold optimization are critical for balancing sensitivity and precision based on application requirements.

## Slide 8
Conclusion
This study presented a comprehensive comparison of deep learning approaches for melanoma detection. The final model achieved:
77.33%
Accuracy
Best overall accuracy achieved by the oversampling + fine-tuning model
0.786
ROC-AUC
Strong discriminative ability on the ISIC 2017 test set
86.67%
Melanoma Recall
Achieved by the focal loss model — highest sensitivity for detecting melanoma cases
These results demonstrate that different techniques optimize different objectives, and model selection should depend on application requirements.
Future Work
01
Use larger datasets
02
Implement advanced architectures (Vision Transformers)
03
Add explainability (Grad-CAM)
04
Deploy as real-time diagnostic tool

## Slide 9
References
[1]K. Jayapriya and I. J. Jacob, “Hybrid fully convolutional networks-based skin lesion segmentation and melanoma detection using deep feature,” Int. J. Imaging Syst. Technol., vol. 30, no. 2, pp. 348–357, 2020, doi: 10.1002/ima.22377.
[2]M. A. Kassem, K. M. Hosny, and M. M. Fouad, “Skin Lesions Classification into Eight Classes for ISIC 2019 Using Deep Convolutional Neural Network and Transfer Learning,” IEEE Access, vol. 8, pp. 114822–114832, 2020, doi: 10.1109/ACCESS.2020.3003890.
[3]R. Ashraf et al., “Region-of-Interest Based Transfer Learning Assisted Framework for Skin Cancer Detection,” IEEE Access, vol. 8, pp. 147858–147871, 2020, doi: 10.1109/ACCESS.2020.3014701.
[4]F. Nunnari, C. Bhuvaneshwara, A. O. Ezema, and D. Sonntag, “A Study on the Fusion of Pixels and Patient Metadata in CNN-Based Classification of Skin Lesion Images,” Lect. Notes Comput. Sci. (including Subser. Lect. Notes Artif. Intell. Lect. Notes Bioinformatics), vol. 12279 LNCS, pp. 191–208, 2020, doi: 10.1007/978-3-030-57321-8_11.
[5]A. Astorino, A. Fuduli, P. Veltri, and E. Vocaturo, “Melanoma Detection by Means of Multiple Instance Learning,” Interdiscip. Sci. Comput. Life Sci., vol. 12, no. 1, pp. 24–31, 2020, doi: 10.1007/s12539-019-00341-y.

## Slide 10
Thank You
Questions & Discussion Welcome